C0:	DATA ACQUISITION, PROCESSING, AND CONTROL SYSTEMS SUBCOMMITTEE

Chair: C. Preuss

Vice Chair: J. Evans

The Subcommittee met on 01/14/10 with 12 present; 9 members of 14 C0 members for a quorum.  Andrew Wright was added as the 14th member of C0. Notes from the September 2009 meeting were not distributed prior to the meeting but are available on the Substations Committee C0 website:

http://ewh.ieee.org/cmte/substations/scc0/basefile.htm.

Note that since all attendees were at all meetings, it was decided by the group to forgo reports from the Chairs. Brief summaries and actual draft meeting minutes are included for these notes.

C1:	IEEE 1686 Standard For Substation IED Cyber Security

Chair: S. Sciacca

Vice Chair: M. LaCroix

Output: Standard

Established: 2008

Expected Completion Date: Initiating joint work with PSRC H13.

The C1 working group did not meet.

C2:	IEEE 1613 Standard Environmental and Testing Requirements for Communications Networking Devices in Electric Power Substations

Chair: J. Tengdin

Vice Chair: L. Smith

Output: Standard update

Expected Completion Date:

The C2 working group met.

C3:	IEEE C37.1 Standard for SCADA and Automation Systems

Chair: C. Preuss

Vice Chair: D. Holstein

Output: Standard

The C3 working group did not meet.

C5:	IEEE C37.2 Draft Standard for Electrical Power System Device Function Numbers and Contact Designation

Chair: J. Tengdin

Vice Chair: W. Ackerman

Output:  Standard

The C5 working group did not meet.

C6	Trial Use Standard for a Cryptographic Protocol for Cyber Security of Substation Serial Links (P1711)

Chair: D. Whitehead

Vice-Chair: Andrew Wright

Output: Standard

The C6 working group met without the chair and vice chair. The ballot pool is balanced with 62 balloters, 26 general interest, 13 producer, and 23 users. The scope and purpose do not match the PAR. The chair or vice chair need to submit a PAR revision request then the draft will go to ballot. Soo Kim to contact the chair and help with process. Only draft six is available and is what was submitted for ballot.

John Tengdin expressed his concerns about ballot group classifications. These categories from an 11/12/2009 e-mail are IOU, REC, PUD/municipal, manufacturer, consultant, general interest, and federal government.

C7	IEEE 1588 Profile for Power System Applications

Chair: T. Tibbals

Vice Chair: M. Dood

Output: Standard

Established: 2009

The C7 working group met jointly with PSRC working group H7.

Please see the submitted minutes from the PSRC.

C8	IEEE 1615 Recommended Practice for Network Communications in Substations

Chair: M. Thesing

Vice Chair: J. Tengdin

Output: Standard

Established: 2009

The C8 working group did not meet.

C9:	IEEE 1646 IEEE Standard Communication Delivery Time Performance Requirements for Electric Power Substation Automation

Chair: J. Tengdin

Vice Chair: D. Holstein

Output: Standard

Established: 2009

Expected Completion Date: 2010.

The C9 working group met.

All acronyms in the standard are in the IEEE database.

Figure 16 from IEC 61850-5 is similar to Figure 1 in IEEE Std 1646. Sam Sciacca volunteered to update diagram and text.

C10:	Standard for Cyber Security Requirements for Substation Automation, Protection and Control Systems

Joint Chair: S. Sciacca

Vice Chair:

Output: Standard

Established: 2008

Expected Completion Date: Initiating joint work with PSRC H13.

The C10 met joint with H13. Please see the PSRC notes.

Liaison Reports

None.

Coordination Reports

None.

Old Business

Lee Smith provided some information on P2030 activities.

Lee Smith brought up the issue as to whether DNP should be made an IEEE standard, which the DNP Steering Committee prefers. Lee stated that there is interest within the IEEE to have this standardization work take place within the Distribution Automation Working Group (DAWG) of the Distribution Subcommittee from the Transmission and Distribution Committee. It was the opinion of C0 that a joint working group might be more appropriate between Substations C0, DAWG, and the Power System Communications Committee (PSCC); in addition, that IEEE 1379 would become part of the new standard. Lee volunteered to chair and work with the DAWG and PSCC to initiate the process of opening a PAR. It was suggested that IEEE SA might be able to provide valuable resources in converting the DNP3 standards documents to IEEE documents more quickly than the working group. This would help facilitate balloting before the end of 2010. The DNP Users Group would still be the owner of the standard and would feed updates to the IEEE working group.

New Business

Reactivate C1? The standard was approved in 2007, so C0 should look at in 2011.

What to do with C11 (IEEE Std 1379?)? A working group meeting should be set up for next meeting to discuss update from DNP3 to IEEE 1815 and removal of 60870.

C12 PAR approved for DNP3. SA converting DNP3 document set for draft very soon. Request for ballot group already sent out.

C37.115 working group approved by C0 with none opposed. John Tengdin to be chair and to approach PSRC.

New Orleans Super Session on T&D was discussed. There is an automation poster session paper.

Substations has 2 or 3 papers submitted for the General Meeting.

Wind Farm Presentation.