C0:	DATA ACQUISITION, PROCESSING, AND CONTROL SYSTEMS SUBCOMMITTEE

Chair: C. Preuss

Vice Chair: J. Evans

The Subcommittee met on 09/15/10 with 3 members and 1 guest.  Manford Kwan was added as a member of C0. Notes from the May 2010 meeting were not distributed prior to the meeting but will be available on the Substations Committee C0 website:

http://ewh.ieee.org/cmte/substations/scc0/basefile.htm.

Brief summaries and actual draft meeting minutes are included for these notes.

C1:	IEEE 1686 Standard For Substation IED Cyber Security

Chair: S. Sciacca

Vice Chair: M. LaCroix

Output: Standard

Expected Completion Date:

The C1 working group did not meet.

C2:	IEEE 1613 Standard Environmental and Testing Requirements for Communications Networking Devices in Electric Power Substations

Chair: J. Tengdin

Vice Chair: L. Smith

Output: Standard update

Expected Completion Date:

The C2 working group met to discuss adding vibration and shock requirements. Discussion indicated a preference to not include any additional shock and vibration requirements. See C0 notes for additional discussion.

C3:	IEEE C37.1 Standard for SCADA and Automation Systems

Chair: C. Preuss

Vice Chair: D. Holstein

Output: Standard

The C3 working group did not meet.

C4:	IEEE XXXX Draft Standard for SOE Time Stamping Requirements for Substation IEDs

Chair: M. LaCroix

Vice Chair:

Output:  Standard

The C4 working group met without the chair. Reviewed PSRC H3 minutes and then those in attendance went to the H3 meeting occurring in parallel. It was decided that a joint working group should be formed as of January 2011 with the first joint meeting at the Joint Technical Committee Meetings. A revision of the existing H3 scope, purpose, and outline is expected. Focus should be on performance requirements. H3 will distribute documents to C4.

C5:	IEEE C37.2 Draft Standard for Electrical Power System Device Function Numbers and Contact Designation

Chair: J. Tengdin

Vice Chair: W. Ackerman

Output:  Standard

The C5 working group met without quorum. Actual definitions of FDC and DVR were covered. Discussion of DVR resulted in a review of the scope and purpose of the document to see whether adding DVR was appropriate. It was proposed that a general acronym for physical security might be best to avoid adding many acronyms related to physical security. Revised definitions will be sent out by the chair for working group review.

C6	Trial Use Standard for a Cryptographic Protocol for Cyber Security of Substation Serial Links (P1711)

Chair: D. Whitehead

Vice-Chair: Andrew Wright

Output: Standard

The C6 working group did not meet.

C7	IEEE 1588 Profile for Power System Applications

Chair: T. Tibbals

Vice Chair: M. Dood

Output: Standard

Established: 2009

The C7 working group met. Please see the H7 minutes.

C8	IEEE 1615 Recommended Practice for Network Communications in Substations

Chair: M. Thesing

Vice Chair: J. Tengdin

Output: Standard

Established: 2009

The C8 working group did not meet.

C9:	IEEE 1646 IEEE Standard Communication Delivery Time Performance Requirements for Electric Power Substation Automation

Chair: J. Tengdin

Vice Chair: D. Holstein

Output: Standard

Established: 2009

Expected Completion Date: 2010.

The C9 working group did not meet.

C10:	IEEE PC37.240 Standard for Cyber Security Requirements for Substation Automation, Protection and Control Systems

Joint Chair: S. Sciacca

Vice Chair:

Output: Standard

Established: 2008

Expected Completion Date: Initiating joint work with PSRC H13.

The C10 met joint with H13. Please see the PSRC notes.

C11:	IEEE 1379 IEEE Recommended Practice for Data Communications Between Remote Terminal Units and Intelligent Electronic Devices in a Substation

Chair: L. Smith

Vice Chair:

Output: Recommended practice

Established:

Expected Completion Date:

The C11 did meet. A brief overview of the history of 1379 was discussed. Without more members present, no decision was made on how to proceed. Options discussed are:

- Retire 1379

- Incorporate into 1815 as an annex or informative clause

- Revise it and drop IEC standard

- Submit ideas for next generation of 1379

C12:	IEEE 1815 IEEE Standard for Electric Power Systems Communications - Distributed Network Protocol (DNP3)

Joint Chair: L. Smith

Vice Chair: A. West

Output: Standard

Established: 2009

Expected Completion Date: 2010

The C12 met without quorum. New work for the working group is needed to do the following:

- Fix editorial and technical problems

- Update/expand cyber security

- Update/expand XML

C13:	IEEE C37.115 IEEE Standard Test Method for Use in the Evaluation of Message Communications between Intelligent Electronic Devices in an Integrated Substation Protection, Control, and Data Acquisition System

Joint Chair: J. Tengdin

Vice Chair:

Output: Standard

Established: 2009

Expected Completion Date: 2010.

The C13 working group did not meet. It was discussed during the meetings that C37.115 should be administratively withdrawn until the C4 work is complete.

Liaison Reports

None.

Coordination Reports

None.

Old Business

Remove C4 from lists, brochures, etc.

C13 is joint with PSRC C9.

Liaisons were discussed without resolution. Action item for the chair to discuss with Kay Clinard whether the UCAiUG had any suggestions to liaison with C0.

Future presentations:

- Craig Preuss to talk to PG&E for September 2010 joint meeting with PSRC

- Marc LaCroix to talk with Bob Nowell as a start. ACS has offices there. Mike Thesing may still be located there although he works for KEMA now.

We should do a better job advertising presentations at C0.

Look at starting 1615 and C37.1 again? Have each working group chair present scope and purpose at JTCM 2011 to see if it makes sense.

PSRC meeting – look to see if we can keep avoid meetings on Monday.

New Business

Chair to request Eric Udren provide C with continuing updates on PSRC H12 progress to see how it might be incorporated into 1615.

1711 status was discussed that balloting was complete and comments resolved. A misunderstanding was preventing a recirculation ballot, but the chair was contacted via e-mail to get a recirculation ballot. It is expected publishing by early 2011.

The 1613 revision for shock and vibration was discussed. The apparent direction of leaving the standard as is was countered by soliciting shock and vibration requirements from utilities to see what their practices are. Utilities discussed were PG&E, SCE, AEP, ComEd, TVA, Hydro Quebec, Hydro One, and BPA. The chair to contact the 1613 chair to get this accomplished.

A new working group, C14, was discussed to address the mapping of DNP3 to IEC 61850. Since IEC 61850 has models for devices outside of the substation, it was discussed at an earlier lunch meeting that Matt Ceglia could provide contacts with other IEEE committees/working groups that might be interested in a joint effort. It was also reported by the chair that during this lunch Ron Farquharson would check with IEC working group members as to whether there was any issue with a 1815.1 standard or if a new number would be preferred. Lee Smith agreed to chair C14.

It was discussed how the meeting attendance went. Since meeting attendance was low, it was decided to revert back to the following meeting format when meeting with the PSRC: non-joint PSRC working groups would meet on Monday in the time available, with the C0 meeting on the same day as PSRC subcommittee meetings at a time not during the PSRC H meeting.

The attendees revised the C scope as requested by the Substations Committee chair. The revised scope will be sent out by the chair to the C committee members for comments and then incorporated into the substation brochure.

It was noted that the joint meeting in Atlanta could use some presentation ideas. John McDonald could be used as a contact to discuss a relevant topic.