Chair: Debra Longtin

Vice Chair: Steve Shelton

Secretary:  Brian Farmer

Deb opened the meeting at 8:05 with introductions.  There were 20 persons present.  Attendance was just shy of quorum of 11 members. The following were in attendance:

| Abdallah, Hanna | Member | Reynolds, Scott | Guest |
| --- | --- | --- | --- |
| Barac, Radoslav | Member | Shelton, Steven | Vice Chair |
| Barnes, Thomas | Guest | Sharpe, Douglas | Guest |
| Bykadorov, Anatoliy | Guest | Stargel, Ryan | Guest |
| Clelland, Randy | Member | Stephens, Brian | Guest |
| Farmer, Brian | Secretary | Stevens, Al | Guest |
| Gravelle, Joe | Member | Thompson, William | Member |
| Longtin, Debra | Chair | Watkins, Diane | Member |
| Meidinger, Jason | Guest | Zook, Adam | Guest |
| Nadeau, Mike | Guest |  |  |
| Preuss, Craig | Corresponding Mbr |  |  |

- The mandatory IEEE slides on patents/intellectual property were presented.

- Reviewed notes from May 2009 (Kansas City) and Oct. 2009 (Nashville) meetings.  (Both were considered notes, not minutes for approval.) No corrections noted.  Past and future notes will be posted on the working group’s web page shortly. Password for the secure section of webpage was decided. Contact Deb or Brian for reminder if needed.

- Revision logistics. Standard was published in 2007, with a corrigendum in 2008.

  - Need to verify how long we can ask for completion of PAR. Knowledgeable folks indicated that once a PAR is approved, elapsed time can go beyond the normal 5 years for the standard update/reaffirmation. We have 4 years to submit completed draft to the review board once the PAR is approved, unless an extension is requested. Noted that scope needs to be well defined when entered into PAR as it cannot be easily changed. PAR for last revision was done in 2001. The group reviewed the 2001 PAR to gain some familiarity. It appears that the group does not need to provide collective input other than for Scope and Purpose. Deb will develop PAR and intends to file before October meeting.

  - Adam Zook volunteered to be technical editor for the document. Deb will forward document and various proposed text changes submitted so far after approval of PAR.

- Tutorial: Has been done four times and seems to have attracted most of the interested folks. Agreed to hold off additional presentations until new revision is complete.

- Basic scope of this revision will be to enhance communication information in various sections and include a “large station” example.  (Large being loosely defined as Transmission substation which will have features like longer runs, communications circuits, shielding, etc. that smaller (distribution) substations would not have.) The scope and purpose of the existing guide were reviewed.

- Large station example: Steve Shelton created the general arrangement and the group has been reviewing/adding to it over past several meetings.

  - Rad Barac started some updates to conduit and trench layout (per items listed in 10/09 meeting notes), but has not finished yet.  The current version of the layout was reviewed by the group. Rad will complete the changes and forward to Steve mid June. Once trench and conduits are agreed upon. Specific calculations can be done (similar to small station example).

  - Noted: Steve furnished transformer and breaker loading information (motors) to Randy, per request last meeting.

  - Communications part reassigned to Craig (from Diane).

  - Randy will do the cable sizing calculations.

  - Randy will contact Walt Constantine to see if he is still willing to do the cable details.

  - Joe will provide information on fire protection.

- Review of Open/Action items:

- Table C3 possible error: Doug Sharpe/Hanna Abdallah to obtain clarification and proposed correction. Hanna will contact Walt Constantine if needed.

- Communications cable: Craig Preuss and Sam Sciacca (involving others as appropriate) to review communications sections 5 & 6, as well as Annexes D & H and send email to Deb with draft revisions by Sept. 1.

- Segregation (7.6 & Annex H): Joe Gravelle will review and comment.

- Aspects of installing cables in trench (fill, separation/arrangement, old cable removal, etc.): Noted: R. Steve Brown can no longer participate.  Joe G will review.

- Wire Terminations: No feedback yet received from group on prior draft info.

- Fire Stops: Joe G. No update.

- Jamming ratio: Dewan Jamir. Compare/revise against IEEE 576. Not yet done. Deb will contact Dewan to see if he has done any research.

- Reactor & capacitor grounding: Joe G. No update

- Conduit vs. tubing: No update. Group was previously requested to provide feedback on prior draft.

- Isolation devices (for copper circuits): Central issue is ground potential rise. IEEE 80 does not specifically address isolation. We should have something to highlight it. Other possibly related standards that may be of use: 367, 1590. Craig P will do some research and try to provide some text.

- Any additional items for revision? None identified.

- Related standards coordination:

  - 422: Contacted chair and they are ready to ballot. Did not see need for coordination. Steve S. will provide further review/comparison.

  - 1185: (Randy Clelland) They are willing to coordinate with us, but they are also currently in balloting process, and changes would be next cycle.

  - 576: Bill Thompson will review and provide input for October meeting.

  - Copies of current drafts/standards will be put in secure section of website.

- Roster: Deb reviewed status of those present to confirm or change. Identified changes will be made in 123Signup. Deb and Brian reviewed remaining persons on the roster and Brian will contact members who have not attended for at least two years to see if they still plan on actively participating.

- Next Meeting: Week of October 18, 2010. Nashville, TN.  Members requested to inform Deb via email which other groups you must attend so she can try to avoid schedule conflicts for October.

Meeting adjourned 11:05.

Respectfully Submitted,

Brian Farmer, Secretary