Chair: Debra Longtin

Vice Chair: Steve Shelton

Secretary:  Brian Farmer

Deb called the meeting called to order at 1:00. There were 15 persons present, 8 of whom were members, which was short of a quorum. (Membership at time of meeting was 18 members.) Introductions of those present were made.  The following were in attendance:

| Barac, Radoslav | Member | Rojanatavorn, Paason | Guest |
| --- | --- | --- | --- |
| Brown, Steve | Member | Shelton, Steven | Vice Chair |
| Farmer, Brian | Secretary | Smith, Doug | Guest |
| Fox, Dale | Guest | Story, Brian | Guest |
| Gravelle, Joe | Member | Thompson, William | Member |
| Laird, Donald | Guest | Wallace, Brian | Member |
| Lemeilleur, Henri | Guest |  |  |
| Longtin, Debra | Chair |  |  |
| Nadeau, Mike | Guest |  |  |

- The mandatory IEEE slides on patents/intellectual property were presented.

- Brian reviewed the notes from the Montreal meeting in May 2010. No corrections were noted and they were accepted as presented. The webpage for WG-D2 was shown. Meeting notes are accessible to all. Working documents of the committee are under the “protected files” section. Members were requested to send any documents they want posted to Brian (bkf1@pge.com). For the password to protected files, contact Deb (dlongtin@atcllc.com) or Brian.

- 525 PAR: The most recent deadline for board review was earlier this month, which we could not make. The group reviewed the scope and purpose, which will be used in the PAR.  Discussion occurred on whether the use of “insulated” in the scope is too restrictive. No, focus will still be on insulated conductors.  The group also discussed if the current 35 kV cut off should be changed. Group agreed that power cables above 35 kv are not included in this guide. The purpose will include a statement to this effect. Deb will make the changes agreed on and use for the PAR. Deb intends to submit the PAR before next meeting so an approved PAR will be available by the May meeting in Chicago.

- Review of action items for new work and improvements:

Large station example. Refer to May 2010 meeting notes for numbering and description.

6A- Conduit and trench layout- Rad still needs to follow up. He will target January 1, 2011 to get the markup to Steve S. Once Steve finishes updating drawing, he will submit for web posting.

6C- No communication from Craig on the communications section.

6E- Participation from Walt Constantine. Deb did not hear from Randy who was to contact Walt. However, Deb did email Walt and he is willing to help out as a corresponding member.

6F- Joe still needs to provide the fire protection.

Other revisions/action items: Refer to item 7 of the May 2010 meeting notes for description. It is noted that no further input or responses were received for any of these items.

- Those with uncompleted assignments are asked to provide their input by March 15, 2011.

- Brian to post in protected section of web page the revisions/additions submitted a couple of years ago.

- Related Standards

  - 422 Design of Cable and Raceway Systems in Electric Generating Stations (Steve Shelton) – We would like to know the status of balloting by Chicago meeting.

  - 576: Recommended Practice for Installation, Termination, and Testing of Insulated Power Cable as Used in Industrial and Commercial Applications (Bill Thompson).

  - 1185: Guide for Installation Methods for Generating Station Cables (Randy Clelland) This standard is also currently in balloting.

  - Brian will contact SA to see if we can get copies of 422, 576 and 1185 to post to our protected site. This will allow the WG to review and make sure we have no conflicts.

- Roster: Deb and Brian again reviewed the roster after the meeting was adjourned. Based on past attendance and current interest Walt Constantine, Hamid Sharifnia and Boris Shvartsberg were changed from member status to corresponding member, and four guests who have not attended in last five years were deleted from the roster.

- Next Meeting: Chicago, May 15-19, 2011.

Meeting adjourned 2:40.

Respectfully Submitted,

Brian Farmer, Secretary