Guide for the Design of AC/DC Auxiliary Power Systems

For Transmission and Distribution Substations

WG-D9

Nashville, TN

October 20, 2010

Meeting Notes

Chair:			Hanna E. Abdallah

Vice Chair:		Joseph Gravelle

Secretary:		Radoslav Barac

Technical Editor:	Dewan Jamir

- Opening – Joseph Gravelle, the vice-chairman, opened the meeting with introductions. There were 7 members and 8 guests present at this meeting.  See attendance list at the end of the minutes.

- Obligatory Statement – Joseph Gravelle, presented the latest revision of the obligatory documents from IEEE regarding patents in standards and inappropriate topics for Working Group Meetings.

- Member attendance – There were 7, of a total of 16 members of the WG D9, present.  With 7 members present the quorum was NOT present.

- Minutes/Agenda - Joseph Gravelle, present an agenda for the meeting for the work. There were no additional suggestions to the agenda.

- Previous Meeting Notes – Rad Barac, Secretary, reviewed the meeting notes from Montreal and there were no corrections offered.

- Meeting Discussions and Conclusions:

- Joseph Gravelle went through the AC portion that was submitted by Dewan Jamir.

- Gary Engmann suggested to include uninterrupted power supply.

- Working group was going over AC draft and was revising the sections.

- It was stated that WG should stay from describing all purposes of power transformer tertiary and list just auxiliary power role. Debra Longtin, was assign to add pros and cons for this clause during the review of whole document.

- Regarding the suggested survey for utility practice of AC and DC auxiliary systems, the list of the utility and questions should be started in Chicago meeting, next year.

- It was decided that work was needed on adding some sections in DC Section.

- Assignments - Two groups to continue writing drafts of the DC and AC sections:

- Section 4.1 - Design Criteria, (Reliability Requirements), was assigned to Hamid Sharifnia.

- Section 4.3.1 – Transformer Rating, was assigned to Stargel Ryan. Pros and Cons of using Power Transformer Tertiary as source for AC station auxiliary power.

- Section 4.3.5 – Transfer Switch, was assigned to Brian Wallace. Notes included: Segregation – Ensuring you do not have common mode failure – separate sources.  Auto-transfer switch does not provide segregation.  Identifying independent sources. Break before make – ensures you do not short two sources that are out of phase when transfer switch operates.  Safety concern with electrician jumping transfer switch – insufficient operator training.  Addressing of acknowledgement that alternate sources may be out of phase.   Switching neutral or not.

- Section 4.5 – Circuit Protection, was assigned to Stargel Ryan. Issues where available fault current exceed the interrupting rating of overcurrent protection. Current limiting lugs (fuses) – primary and secondary voltage. Engine Generator protection issues.

- Section 4.6 – Equipment Specifications, was assigned to Stargel Ryan.

- The drafts are to be submitted to reviewers (Debra and Steve), by March 15, 2011, or earlier.

- Debra to work with Steve on reviewing documents in parallel so documents could be posted/distributed to WG members on time before Chicago Meeting.

- Next Meeting – Chicago, IL, May 15-19, 2011

- Meeting adjourned.

Respectfully submitted by

### Radoslav Barac

Secretary, WG-D9

#### Attendance

| # | NAME | ROLE | P* | COMPANY | E-MAIL |
| --- | --- | --- | --- | --- | --- |
| 1 | Abdallah, Hanna | Chair |  | Power Engineers | hannaabdallah@hotmail.com |
| 2 | Barac, Radoslav | Secretary | X | General Electric Company | radoslav.barac@ge.com |
| 3 | Barnes, Thomas M. | Guest | X | Allen & Hoshall, Inc | tbarnes@allenhoshall.com |
| 4 | Brown, Robert | Guest |  | Puget Sound Energy | r.steve.brown@pse.com |
| 5 | Cathey, Jody | Member |  | Allen & Hoshall, Inc | jcathey@allenhoshall.com |
| 6 | Clelland, Randy | Member |  | BC Hydro | randy.clelland@bchydro.com |
| 7 | Cummings, Dennis | Guest |  | Entergy Service Inc | dcummi1@entergy.com |
| 8 | Davey, Tom | Guest |  | ABB | tom.davey@us.abb.com |
| 9 | Engmann, Gary | Member | X | Burns & McDonnell | g.engmann@ieee.org |
| 10 | Farmer, Brian | Guest | X | Pacific Gas & Electric | bkf1@pge.com |
| 11 | Gravelle, Joseph | Vice Chair | X | Xcel Energy | joseph.t.gravelle@xcelenergy.com |
| 12 | Haahr, Charles | Guest |  | Sega Inc. | chaahr@segainc.com |
| 13 | Hernandez, Jose | Member |  | Sacramento Municipal Utility District | jherna1@smud.org |
| 14 | Jamir, Dewan | Member |  | Burns & McDonnell Engineering Co. | djamir@burnsmcd.com |
| 15 | Kelley, Dave | Member |  | Salt River Project | dave.kelley@srpnet.com |
| 16 | Kelley, David | Guest |  | Patrick Energy Services | dkelley@patrickesi.com |
| 17 | Klein, Lucas | Guest |  | Ameren | lklein2@ameren.com |
| 18 | Lalic, Nerkez | Guest |  | EPCOR | nlalic@epcor.ca |
| 19 | Lemeilleur, Henri | Guest |  | DMC Power | hlemeilleur@dmcpower.com |
| 20 | Longtin, Debra | Member | X | American Transmission Co. (ATC) | dlongtin@atcllc.com |
| 21 | Meidinger, Jason | Guest |  | Dominion | jason.meidinger@dom.com |
| 22 | Munn, William | Member |  | Alabama Power Co. - Southern Co. | wamunn@southernco.com |
| 23 | Nadeau, Michael | Guest | X | CG Power Solution | mnadeau@cgpowersolution.com |
| 24 | Noori, Mike | Member | X | Custom Engineering Solutions | mike@cengs.com |
| 25 | Patel, Shashikant | Corresp. Member |  | Public Service Electric and Gas Company | shashikant.patel@pseg.com |
| 26 | Reynolds, Scott | Guest |  | MSE Power Systems | sreynolds@msepower.com |
| 27 | Rogers, Donald | Guest |  | Bechtel | drrogers@bechtel.com |
| 28 | Sharifnia, Hamid | Member | X | PacifiCorp | hamids@ieee.org |
| 29 | Shelton, Steven | Guest | X | HDR Engineering, Inc. | steve.shelton@hdrinc.com |
| 30 | Shvartsberg, Boris | Member |  | Public Service Electric and Gas Co. | borisshvartsberg@aol.com |
| 31 | Stargel, Ryan | Guest | X | Tennessee Valley Authority | rwstarge@tva.gov |
| 32 | Stephens, Brian | Guest |  | Ameren | bstephens@ameren.com |
| 33 | Story, Brian | Guest |  | Entergy | bstory@entergy.com |
| 34 | Thompson, William | Guest |  | Power Engineers,Inc. | bithompson@powereng.com |
| 35 | Tran, Giang | Guest |  | Entergy Services | gtran@entergy.com |
| 36 | Wallace, Brian | Member | X | Salt River Project | brian.wallace@srpnet.com |
| 37 | Watkins, Diane | Guest | X | Salt River Project | diane.watkins@srpnet.com |
| 38 | Wengerter, Don | Member |  | Wisconsin Public Service | dewengerter@wisconsinpublicservice.com |
| 38 | Wong, Alexander | Guest |  | Hydro One | alex.wong@hydroone.com |
| 39 | Zook, Adam | Guest |  | Sargent & Lundy LLC | adam.j.zook@gmail.com |
| 40 | Fox, Dale | Guest | X | Salt River Project | anguyen@tva.gov |
| 41 | Nguyen, Andrew | Guest | X | TVA | alex.wong@hydroone.com |
| 42 | Sharpe, Dough | Guest | X | Power Engineers | doug.sharpe@powereng.com |
| 43 |  |  |  |  |  |
| 44 |  |  |  |  |  |
| 45 |  |  |  |  |  |