Lane Garrett, Chairman, opened the meeting with introductions.  There were 22 members and 7 guests present at this meeting.

- Obligatory Statement - Lane presented the obligatory slides from IEEE regarding patents in standards and inappropriate topics for working group meetings.

- Minutes/Agenda - The Nashville 2007 working group meeting minutes and agenda of the San Francisco 2008 meeting, were approved.

- National Electrical Safety Code – Frank was not present at the meeting. He provided a hand out with proposed changes. The dead line for any ANSI C2 NESC 2012 changes is due by July 17, 2008. (Refer to the attached document)

- Review of the Assignments

| SECTION NUMBER | LEAD PERSON |
| --- | --- |
| 1-3 | Hanna Abdallah |
| 4 | Allan Love |
| 5 | Keith Wallace |
| 6 | Fred Randolph |
| 7 | Keith Wallace |
| 8 | Alfred Flojo |
| Annex A | Keith Wallace |
| Annex B | Hanna Abdallah |
| Annex X | Phil Atwater |

- Hanna Abdallah – Did not provided any comments at this time.

- Alan Love – Recommended that typical fault clearing times published in Table 1, of the current standard should be revised.

- Keith Wallace – No progress on sections 5 and 7.

- Fred Randolph – Reviewed his comments with the working group. (Refer to the attached document)

- Alfred Flojo – Provided summary of section 8 changes. The changes were reviewed with the WG. (Refer to the attached document)

- Phil Atwater - Phil Atwater presented on “Temporary Protective Ground Cables-Inductive Reactance and Worker Exposure Voltage Study”. The key point is that during a fault situation, the maximum voltage is not only from the fault current but there is also a reactance component coming from the induces fields emanating from the TPG wire. Phil will work some of this new information for peer review and possibly inclusion.

  - Section 5.2.2   “Typically, the current through the worker will be greater if energization occurs from the side opposite the TPG location. “

Proposed change: Typically, the current through the worker will be greater if the worker is between the TPG and the source. (For power point presentation refer to the attached document)

- ASTM F 855 EMF test update - Marcia Eblen provided an update on ASTM F 855 working group meeting that took place at the same time as the IEEE meetings. The ASTM WG determined that only 2 labs in world could perform the test as written. ASTM is looking for 3rd alternative test regiment. Clay has proposed one possible alternative. Marcia feels that this will be added as a third regiment and not one in place of the first 2.

Meeting adjourned 10:05am.

The date and time of the fall 2008 Nashville meeting will be specified.  Please submit all assignments two weeks prior to the Nashville meeting to the secretary at mhavelka@ieee.org

Respectfully submitted by

Martin Havelka

Secretary, WG D4

# ATTENDENCE

(Refer to the table)

| NAME | ROLE | CONTACT INFORMATIOM |
| --- | --- | --- |
| Chadbourne Chris | member | FCI USA, Inc., NH, chris.chatdbourne@fciconnect.com |
| Arnot Stan | member | Toronto, ON, Canada, santro@sympatico.ca |
| Atwater Philip | member | Bureau of Reclamation, Denver, CO, patwater@do.usbr.gov |
| Beske Brian | member | American Transmission Company, Madison, WI, bbeske@atcllc.com |
| Brown Steven | member | Memphis Light Gass & Water, Memphis, TN, stevendbrown@ieee.org |
| Patel Shashi | member | NEETRAC, Forest Park, GA, patel@ee.gatech.edu |
| Sheh Will | member | TectoWeld Inc., Torrance, CA, wshash@atitec.com |
| Garrett Lane | chairman | Alabama Power Company, Birmingham, AL, dlgarret@southernco.com |
| Greenfield Steve | member | ERICO, West Palm Beach, FL, sgreenfield@erico.com |
| Havelka Martin | secretary | ERICO, Solon, OH. mhavelka@erico.com |
| Keil Rich | member | Commonwealth Associates Inc., Dayton, OH, rpkeil@cai-eng.com |
| Kelley Dave | member | Salt River Project, Phoenix, AR, dave.kelley@srpnet.com |
| Larid Donald | member | Southern California Edison, Rosemead, CA, Donald.Larid@sce.com |
| Love Allen | member | Georgia Power Co., Forest Park, GA, alcove@southernco.com |
| Story Brian | member | Entergy, Kenner, LA, bstory@entergy.com |
| DeCosta Dennis | member | Commonwealth Associates Inc., Jackson, MI, dfdecosta@cai-engr.com |
| Flojo Alfred | member | Salisbury, Chicago, IL, Alfred.flojo@whsalisbury.com |
| Chan K.S. | member | Bechtel, Huston, TX, kschan@bechtel.com |
| Chandra Kouskik | member | Bechtel, Huston, TX, kchanda@bechtel.com |
| Story Brian | member | ENTERGY, Kenner, LA, bstory@entergy.com |
| Middlecamp Steven | member | Florida Power & Light Co., Juno B., FL, steven_c_middlecamp@fpl.com |
| Eblen Marcia | member | Pacific Gas & Electric, San Ramon, CA, mls2@pge.com |
| Wong Alexander | guest | Hydro One Networks Inc., Jackson, MI, alex.wong@hydroone.com |
| Guarneri Matt | guest | BGE, Baltimore, MD, matthaw.garner@constellation.com |
| Freepons Shane | guest | Black& Veatch, Portland OR, freeponss@bv.com |
| Aldridge Ken | guest | R.W. Beck, Hendersonville, TN, kaldridge@rwbeck.com |
| Giang Tran | guest | Entergy, Kenner, LA, gtran@enterrgy.com |
| Cain James Brian | guest | Stanley Group, Phoenix, AZ, cainbrian@stanleygroup.com |
| Rzaso Michael | guest | FCI.USA,Inc., Manchester, NH, mrzasa@fciconnect.com |