Possible IEEE 605 Substation Guide Line Improvements

| PROPOSED REVISION | DISCRIPTION | STATUS |
| --- | --- | --- |
| Short Circuit Forces | Suggested possible using ASCE Guide 07 to provide load factor combinations | Suggestion to add an Annex to Std. Team; Sakis M., Jean-Bernard D., Brian Story, Hanna A., Ramani Ayakannu, Hamid Sharifnia |
|  | Suggest creating ‘k’-factor |  |
|  | Suggest providing information as to where to go get information so the user can determine load factor combinations. |  |
| Short Circuit Current Calculation Equation | The equation is currently good for Al & Cu. Provide equation to so it works for all conductors in the next version. | Randy Clelland with guidance from Sakis M. (Randy not present – volunteered by Hanna) |
| minimum or typical yield strength for aluminum bus be added | There was some discussion that this may have not been included because structural engineers have changed their terminology. Further research required. Question about welding – is it stronger than actual material? Is there a 50% reduction factor | Dennis Decosta and Jean-Bernard, Ramani Ayakannu |
| Insulator Strength Section Improvement (include polymer insulator review) | Difference between 1998 version and soon to be released 2009 version. – No agreement about safety factor. | Jean-Bernard Radoslav Barac, Ramani Ayakannu |
| EMF Calculation | Possible new addition? | Not included – 9 to 8 votes. |
| Conductor Current Ratings | Brian Story brought up that the data in the ampacity tables vary from IEEE 605 to various vendor data. It will need to be re-visited for next issue to try and provide continuity. We may want to provide data but refer users to other standards for exact data. Warning about ACSS | Brian to provide presentation in Nashville. |
| address freezing rain | A question was raised by a guest (Ramomi Ayakannu) on does the guide address freezing rain? The group felt it was able to be done using the exiting equations. Ramomi stated that ASCE 7-05 had different values for ice build-up vs. freezing rain. No Action taken but will review with future revisions. Note NESC doesn’t apply | Ramani Ayakannu and Jean-Bernard to ponder this. What are criteria do you want to use in guide. Maps IEEE 605 from ASCE 7-05? |
| Remove British units | Consider making a constant conversion table. | Don Rogers, Chuck Haahr, Jean-Bernard |
|  | Section 4 | Don Rogers, Chuck Haahr, Ryan Stargel |
|  | Section 5 | Brian Stephens, Ramani Ayakannu, Don W. |
|  | Section 6 | Dennis Decosta |
|  | Section 7 – Hanna thinks it needs work – Design/load cases? | Ryan Stargel Hanna A. |
|  | Section 8 - | Brian Story Don Rogers |
|  | Section 9 - | Gary Engmann (not in attendance) |
|  | Section 10-11 – Consideration of having design cases (load cases) – Further discussion in Nashville | Jean-Bernard Ramani Ayakannu, Sakis M. (short circuit) |
|  | Section 12 | Jean-Bernard Ramani Ayakannu |
|  | Tutorial – assignment | Jean-Bernard, Hanna, Sakis, Ramani Ayakannu |

Guide review for possible improvements.