Questions Presented to the WG During the 2007 Meeting in Tampa

- What is the source of the very loud “bang” and impulse that shakes the entire turbine building?

- Why are the most severe reactions those responding to transients from faults originating on circuits two or more voltage levels removed from the generator terminal voltage? The exception to this is with a fault occurring only one voltage level removed from the terminal voltage (GSU high side voltage) but at a distance of several hundred miles. Why does this happen when most of us have been told that close-in faults are the most severe on a generator?

- Why does not plant and switchyard instrumentation detect and record some of the most severe transients? It should be noted that such instrumentation often does record some slight indication of a transient but nothing in proportion to how the generator reacts to it.

- Is the chart trace or other recorded information that of the line condition before and after a switching event and not that of the switch event itself? In other words, during a high speed reclosing event are there spikes at both ends of the recorded fault that are not recorded?

- What would the wave front look like of a transient that would produce the most severe torsional impulse?

- How do the high frequency components of such a wave front compare with the frequency at which the reactance of the GSU transformer and stator winding would significantly affect?

- Much has been written regarding the effects of high speed reclosing into a fault but we have not noticed any papers addressing how a machine responds to a series capacitor bank bypassing and automatically reinserting during the fault clearing sequence. How is this capacitor switching going to affect a machine?

- Different utilities have different protective and switching schemes and they are even different within the same utility depending on the lines in service at any particular point in time. This makes predicting the result of a certain type of fault difficult, at least on a consistent basis. There are some practices that do however lead to consistently the same general result. One has to do with timing. There are papers written regarding the timing between fault and breaker action during a high speed reclosing event but we have seen nothing written about timing sequence of series capacitor bypass and reinsertion. A complicating issue here is the faulted phase bypasses first then the other phases follow; but when? Under what conditions? With what effect on the transient wave front?

- What would be the best way to improve the sensing and capture capability for the fastest transients and at what threshold should data be saved?

- What is the most effective way to monitor the actual torque impulses experienced on the turbine generator shafts and at what threshold level should data be saved?