Insulator Performance and Applications WG

July 28th, 2009

Fairmont – Alberta

Chair:  Allen Bernstorf

Attendance:   The meeting was convened at 2:00 p.m.  Twenty-four individuals were present.  A roster was routed for review.

Minutes:  The minutes of the last meeting were approved as submitted

Agenda:  The agenda for the current meeting was accepted.

Reports:  The following reports were made.

15.09.03.02:  Task Force on Improving In-Service Contamination Performance

Chair:  David Shaffner

Mr. Shaffner reported that the draft paper is complete.  Final work on submission is underway.  The paper should be submitted within the next few months.

Mr. Baker reported that the update of the original contamination paper has been completed and is published in the July Issue of the Power Transactions.

| Planned Date | Winter 2007 | Summer 2007 – Winter 2009 | Winter 2010 | Summer 2010 |
| --- | --- | --- | --- | --- |
| Revised |  | Summer 2009 | Winter 2010 | Summer 2010 |
| Task | Rough Draft | Final Draft | Submission | Review Resolved |
| Actual | W-2007 | S-2009 |  |  |

15.09.03.03 – Task Force on Electric Field Modeling of Nonceramic Insulators

Chair:  Dr. Andrew Phillips

Mr. Baker reported that another meeting was held in July to discuss the results of the deadend assembly.  This was the first go-around with the deadend model.  Results varied by about 400%.  Resolution of the differences is underway.  The TF is considering two papers.   The fine detail in the models has a large effect on the results obtained.

| Planned Date | Summer 2007 | Winter 2008 | Summer 2008 – Winter 2009 | Summer 2010 | Summer 2010 |
| --- | --- | --- | --- | --- | --- |
| Revised |  | W – 2010 | S - 2010 | W – 2011 | S - 2011 |
| Task | Outline | Rough Draft/PAR | Final Draft | Submission | Review Resolved |
| Actual | On Schedule | Late | Late |  |  |

15.09.03.04:  Task Force on Bird Related Outages -

Chair: Dr. Raji Sundararajan

The PAR has been extended to 2009 for this paper.   The plan is to use IEEE 1264 as a guide and draft a paper.  The new standard will be IEEE 1651.  Right now it’s P1651/DA.  As a guide, it can be modified on a 5 year cycle.  Much of the guide has been drafted.  Some finishing work is underway.   The guide should be ready for submission by end of year.

| Planned Date | Summer 2007 | Winter 2008 | Summer 2008 – Winter 2009 | Winter 2010 | Summer 2010 |
| --- | --- | --- | --- | --- | --- |
| Revised |  |  | W-2010 | S-2010 | W-2011 |
| Task | Outline | Rough Draft/PAR | Final Draft | Submission | Review Resolved |
| Actual | On Schedule | On Schedule | Late |  |  |
| Detail |  | PAR 1651 |  |  |  |

15.09.04.01:  Guidelines for the Classification of the Live-line Working Condition of Distribution and Transmission Insulators - NCI

Chair:  Tony Carreira

Comments have been received regarding the survey.  Feedback has been coming in from Europe and Austral-Asia.  The paper does not have to be all inclusive, but it should show live line methods used by those installing NCIs.  A panel would be planned for the next ESMOL (May 2011).  If enough interest is expressed, a form of a guide would be put on the L&I website.  It would be intended to be for information only and not comparative rankings.  New tools and inspection test devices will be included on the site.

The premise will probably be to identify insulators that might flashover within a very short window, rather than predicting units that might fail far into the future.

Dr. Schwalm noted that the group’s focus seems to have shifted from classifying damage to classifying workability.

| Planned Date | Winter 2008 | Summer 2008 – Winter 2009 | Winter 2010 | Summer 2010 | Winter 2011 |
| --- | --- | --- | --- | --- | --- |
| Revised | W-2010 | S-2010 | W-2011 | S-2011 | W-2011 |
| Task | Outline | Rough Draft/PAR | Final Draft | Submission | Review Resolved |
| Actual |  |  |  |  |  |

15.09.04.02: Task Force on Corona Testing of Hardware & Insulators

Chair: Dr. John Kuffel

This is a joint task force with TP&C.  Dr. Kuffel is attending a meeting of the group to help it re-form and get the document balloted.

| Planned Date | Summer 2007 | Winter 2008 | Summer 2008 |
| --- | --- | --- | --- |
| Revised | W-2010 | S-2010 | W-2010 |
| Task | PAR Approved | Paper Submitted | Review Resolved |
| Actual | ??? |  |  |

15.09.09.03:  Icing Test Methods and Mitigation Techniques

Chair:  Dr. Masoud Farzaneh

Dr. Farzaneh noted that his group started in 1999.  They have published five position papers to date.  All of this work was carried out under the auspices of PES.  But some of the later work has also been performed under joint control of DEIS and PES.  P1783 was accepted as a new IEEE standard on June 17, 2009.  Eighteen members participated in this work.  Latest work – Guide on the Selection of Transmission and Distribution Insulators with Respect to Icing.  The guide applied to apparatus for use above 1 kV.  Completion is scheduled for Winter 2011.

| Planned Date | Summer 2009 | Winter 2010 | Summer 2010 | Winter 2011 |
| --- | --- | --- | --- | --- |
| Revised |  |  |  |  |
| Task | Outline | 1st Draft | 2nd Draft | Final Draft |
| Actual | S-2009 |  |  |  |

15.09.09.04:  High Temperature Conductor Effects on Ceramic and Non-Ceramic Insulator Performance

Chair:  Jack Varner.

Mr. Varner is back with SoCo and will work with us for the foreseeable future.

| Planned Date | Summer 2007 | Winter 2008 | Summer 2008 | Winter 2010 | Summer 2010 |
| --- | --- | --- | --- | --- | --- |
| Revised |  | W-2010 | S-2010 | W-2011 | S-2011 |
| Task | Outline | Rough Draft/PAR | Final Draft | Submission | Review Resolved |
| Actual | 2007 |  |  | Late |  |

15.09.06.06:  Review of Mechanism that Affects the In-Service Strength and End-of-Life Decisions for Ceramic and Glass Insulators

Chair:  Ezio del Bello

Contributions have been received regarding end of life of insulators.  The paper is now 10 pages long.  The group will be meeting tomorrow, with an eye toward reducing the length of the paper.  All contributions should be sent in by September.

| Planned Date | Summer 2007 | Winter 2008 | Summer 2009 | Winter 2009 | Summer 2009 |
| --- | --- | --- | --- | --- | --- |
| Revised |  |  | W-2010 | S-2010 | W-2011 |
| Task | Outline | Rough Draft/PAR | Final Draft | Submission | Review Resolved |
| Actual | S-2007 | W-2008 |  |  |  |

15.09.09.08:  Task Force for a Recommended Practice on Insulator Loading

Chair:  Tony Baker

Mr. Baker reported that the draft has been sent to all of the task force members for comment.  They still need some data on toughened glass and Ezio has agreed to give them some.  Submission to the Working Group has been targeted for Winter 2010.

| Planned Date | Summer 2008 | Winter 2009 | Summer 2009 | Winter 2010 | Summer 2010 |
| --- | --- | --- | --- | --- | --- |
| Revised |  | W-2010 | S-2010 | W-2011 | S-2011 |
| Task | Outline | Rough Draft/PAR | Final Draft | Submission | Review Resolved |
| Actual | S-2008 | S-2010 |  |  |  |

TF for Insulators 101

Chair:  Tom Grisham

Insulators 101 was presented this morning to T.P. & C.   Approximately 35 individuals were present and the program ran for 2 hours.  The program included how to select an insulator,  quality, supplier evaluation and standards and what they mean.

| Planned Date | Summer 2008 | Winter 2009 | Summer 2009 | Winter 2010 | Summer 2010 |
| --- | --- | --- | --- | --- | --- |
| Revised | S-2008 | S-2009 | S-2009 | W-2010 | S-2010 |
| Task | Outline | Rough Draft/PAR | Final Draft | Submission | Review Resolved |
| Actual | S-2008 | S-2009 | S-2009 |  |  |

15.09.09:  Insulator Performance and Applications WG:

Chair:  Allen Bernstorf

Dr. Karady noted that we might want to present some of the papers being prepared by the TFs at the WG session.

Mr. Carreira noted that the TFs need to meet for a longer period.  And they need to have closed task force meetings.

Try and work out two hours windows for task force meetings.  Make sure that the TF chairs are not presenting their afternoon update in the morning session.  It’s supposed to be a working session.

Panel Sessions:   The following ideas were presented along with the schedule.

| Topic | Moderator | Members | Paper Due Date | Target Panel Date |
| --- | --- | --- | --- | --- |
| Corona/Grading Rings for Polymer Insulators | Dr. Andrew Phillips |  |  | 2010 T & D |
| Live Line Maintenance | Tony Carreira | Jack Varner |  | ESMO 2011/2012 |
| High Temperature Systems (insulators, conductor and hardware) | Jack Varner | Jerry Reddy. Cover insulators, hardware and conductors etc. |  | T & D 2010 |
| Strength Ratings | Andrew Schwalm | Tony Baker | ???? | Summer PES - 2011 |

Papers:

Standards:

| Number | Name | Date | Action |
| --- | --- | --- | --- |
| 1572 | IEEE Guide for Application of Composite Line Post Insulators | 2004 | Lapse for now. Establish a Maintenance Team to revise in Calgary. Chaired by Tom Grisham |
| 987 | IEEE Guide for Application of Composite Insulators | 2009 |  |

Tutorials:

Insulators 101 may be re-set for T&D.

Insulator Selection perhaps from a utility perspective – George Karady and Tony Baker will assemble an outline.

New Business:

Jeff Burnham noted that there’s a hole in our knowledge regarding DC corona.  It can’t be modeled.  So, what size corona rings should be used and what is the effect of elevation on the performance of the line.  The Chinese are working on DC performance.  The work should start with a review of available literature regarding the subject.  Need a co-chair or chair.  Review next meeting.

Next Meeting and Meeting Room Requests:

The next meeting will be held in Orlando, FL, during the week of January 11-15, 2010.   Task Forces requesting time and meeting rooms for individual meetings during that event include:

- 15.09.09.08 – Task Force for a Recommended Practice on Insulator Loading

- 15.09.03.04 – Task Force on Bird Related Outages – 1 hour.

- 15.09.04.01 – Guidelines for the Classification of the Live-line Working Condition of Distribution and Transmission Insulators - NCI – 2 hours

- 15.09.09.08:  Task Force for a Recommended Practice on Insulator Loading – 1 hour.

Adjournment:

The meeting was adjourned at 4:30 p.m.

Respectfully submitted,

R. Allen Bernstorf

Notable Dates:

| Date | Deadline | Event |
| --- | --- | --- |